## INCUBATOR
NO. | BOQ SR NO | Manufacturer | System | CMMS Asset Name | Asset Number | Location | Level | Model | Serial Number | Remarks / Comments
35 | 35 | Thermo Scientific | INCUBATOR | MCB320INC10 | 391962 | BLD- 320 | ITRI-1-2-3 | 321 | 152581-651 | https://www.bing.com/images/search?q=Thermo+Scientific+321+incubator
36 | 36 | Thermo Scientific | INCUBATOR | MCB320INC3 | 391963 | BLD- 320 | ITRI-4-7-3 | 321 | 152581-648 | https://www.bing.com/images/search?q=Thermo+Scientific+321+incubator
37 | 37 | Thermo Scientific | INCUBATOR | MCB320INC9 | 391964 | BLD- 320 | ITRI-1-1-9 | 321 | 152581-650 | https://www.bing.com/images/search?q=Thermo+Scientific+321+incubator
38 | 38 | Thermo Scientific | INCUBATOR | MCB320INC12 | 391965 | BLD- 320 | ITRI-4-7-3 | 321 | 152581-649 | https://www.bing.com/images/search?q=Thermo+Scientific+321+incubator
39 | 39 | Thermo Scientific | INCUBATOR | MCB320INC7 | 391966 | BLD- 320 | ITRI-1-1-6 | 321 | 152581-653 | https://www.bing.com/images/search?q=Thermo+Scientific+321+incubator
40 | 40 | Thermo Scientific | INCUBATOR | MCB320INC8 | 391967 | BLD- 320 | ITRI-1-1-6 | 321 | 216941-676 | https://www.bing.com/images/search?q=Thermo+Scientific+321+incubator
41 | 41 | Thermo Scientific | INCUBATOR | MCB320INC4 | 432794 | BLD- 320 | ITRI-4-7-3 | 321 | 232727-680 | https://www.bing.com/images/search?q=Thermo+Scientific+321+incubator
42 | 42 | Thermo Scientific | INCUBATOR | MCB320INC2 | 432795 | BLD- 320 | ITRI-3-6-3 | 321 | 232727-682 | https://www.bing.com/images/search?q=Thermo+Scientific+321+incubator
43 | 43 | Thermo Scientific | INCUBATOR | MCB320INC15 | 432796 | BLD- 320 | ITRI-3-5-3 | 321 | 232727-684 | https://www.bing.com/images/search?q=Thermo+Scientific+321+incubator
44 | 44 | Thermo Scientific | INCUBATOR | MCB320INC5 | 432797 | BLD- 320 | ITRI-3-6-4 | 321 | 232727-683 | https://www.bing.com/images/search?q=Thermo+Scientific+321+incubator
45 | 45 | Thermo Scientific | INCUBATOR | MCB320INC11 | 432799 | BLD- 320 | ITRI-4-7-3 | 321 | 232727-685 | https://www.bing.com/images/search?q=Thermo+Scientific+321+incubator
46 | 46 | PANASONIC | INCUBATOR | MCB320INC13 | 486520 | BLD- 320 | ITRI-4-7-5 | MCO-230A/CUV-PE | 16040076 | https://www.bing.com/images/search?q=PANASONIC+MCO-230A%2FCUV-PE+incubator
47 | 47 | PANASONIC | INCUBATOR | MCB320INC14 | 486521 | BLD- 320 | ITRI-4-7-5 | MCO-230A/CUV-PE | 16040075 | https://www.bing.com/images/search?q=PANASONIC+MCO-230A%2FCUV-PE+incubator
48 | 48 | ESCO | INCUBATOR | MCB320INC6 | 489746 | BLD- 320 | ITRI-2-3-4 | CCI - 050B8 | 2017-118063 | https://www.bing.com/images/search?q=ESCO+CCI+-+050B8+incubator
49 | 49 | PHCBI | INCUBATOR | MCB320INC01 | 560283 | BLD- 320 | ITRI-1-2-2 | MCO-230AICUVL-PE | 200460082 | https://www.bing.com/images/search?q=PHCBI+MCO-230AICUVL-PE+incubator
50 | 50 | PHCBI | INCUBATOR | MCB320INC02 | 580284 | BLD- 320 | ITRI-1-2-2 | MCO-230AICUVL-PE | 200360081 | https://www.bing.com/images/search?q=PHCBI+MCO-230AICUVL-PE+incubator
51 | 51 | PHCBI | INCUBATOR | MCB320INC03 | 580285 | BLD- 320 | ITRI-4-7-3 | MCO-230AICUVL-PE | 200360079 | https://www.bing.com/images/search?q=PHCBI+MCO-230AICUVL-PE+incubator
52 | 52 | PHCBI | INCUBATOR | MCB320INC04 | 580286 | BLD- 320 | ITRI-4-7-3 | MCO-230AICUVL-PE | 200360080 | https://www.bing.com/images/search?q=PHCBI+MCO-230AICUVL-PE+incubator
53 | 53 | Thermo Scientific | INCUBATOR | MCB320INC16 |  | BLD- 320 | ITRI-3-5-3 | CYCLE-160 FORMA STRIAC | 41759924 | https://www.bing.com/images/search?q=Thermo+Scientific+CYCLE-160+FORMA+STRIAC+incubator
54 | 54 | PHCBI | INCUBATOR | MCB320INC17 | 598039 | BLD- 320 | ITRI-1-2- 4 | MCO-230AICUVL-PE | 210760024 | https://www.bing.com/images/search?q=PHCBI+MCO-230AICUVL-PE+incubator
242 | 248 | SANYO | INCUBATOR | MCTH&ICIGR | 298482 | BLD - 326 | 1st FLOOR IMMUNOLAGY | MCO-19A10 | 10010071 | https://www.bing.com/images/search?q=SANYO+MCO-19A10+incubator
243 | 249 | NUAIRE | INCUBATOR | SMCIMUINC | 368916 | BLD - 326 | 1st FLOOR IMMUNOLAGY | AUTO FLOW | 152316081512 | https://www.bing.com/images/search?q=NUAIRE+AUTO+FLOW+incubator
244 | 250 | BINDER | INCUBATOR | MCNHCOINCIMM | 265608 | BLD - 326 | 2nd FLOOR IMM & FLOW | CB-210 | 08-37593 | https://www.bing.com/images/search?q=BINDER+CB-210+incubator
273 | 279 | BINDER | INCUBATOR |  | 451229 | BLD - 326 | 3rd FLOOR | 9110-0323 | 16-07261 | https://www.bing.com/images/search?q=BINDER+9110-0323+incubator
430 |  | EPPENDORF | INCUBATOR | MCB320INC19 | 603180 | B-320 | 4th FLOOR 4-7-5 | 6731 | 6731NK038924 | https://www.bing.com/images/search?q=EPPENDORF+6731+incubator
431 |  | EPPENDORF | INCUBATOR | MCB320INC18 | 603109 | B-320 | 4th FLOOR 4-7-5 | 6731 | 6731NK0738770 | https://www.bing.com/images/search?q=EPPENDORF+6731+incubator
432 |  | JSR | INCUBATOR | MCB321INC01 | 302679 | B-321 | 3Rd FLOOR | JSGI-150T |  | https://www.bing.com/images/search?q=JSR+JSGI-150T+incubator
|  | Thermo Scientific | INCUBATOR | MCB320INC01 |  | B-320 | 1St FLOOR 1-2-2 | STERI CYCLE I250 LK | 43173944 | https://www.bing.com/images/search?q=Thermo+Scientific+STERI+CYCLE+I250+LK+incubator
|  | Thermo Scientific | INCUBATOR | MCB320INC02 |  | B-320 | 1St FLOOR 1-2-2 | STERI CYCLE I250 LK | 43173945 | https://www.bing.com/images/search?q=Thermo+Scientific+STERI+CYCLE+I250+LK+incubator
459 | 458 | PANASONIC | INCUBATOR | P03INC01 | 368897 | P3-2035 | QRI-3F | MIR-262-PU | 12090057 | https://www.bing.com/images/search?q=PANASONIC+MIR-262-PU+incubator
460 | 459 | PANASONIC | INCUBATOR | P03INC02 | 368896 | P3-2035 | QRI-3F | MIR-262-PU | 12090058 | https://www.bing.com/images/search?q=PANASONIC+MIR-262-PU+incubator
461 | 460 | HELMER | INCUBATOR | QR03INC01 | 553877 | QRI - BLOOD BANK | QRI-3F | PC100i | 204192 | https://www.bing.com/images/search?q=HELMER+PC100i+incubator
462 | 461 | HELMER | INCUBATOR | P031INC2033A | 523048 | P3-2033 | QRI-3F | PC2200i | 1019651 | https://www.bing.com/images/search?q=HELMER+PC2200i+incubator
463 | 462 | BINDER | INCUBATOR | P03INC06 | 380399 | P3-2006 | QRI-3F | BD115 |  | https://www.bing.com/images/search?q=BINDER+BD115+incubator
464 | 463 | THERMO | INCUBATOR | QR03INC07 | 535358 | P3-2037 | QRI-3F | STERIGO I250 | 42582863 | https://www.bing.com/images/search?q=THERMO+STERIGO+I250+incubator
465 | 464 | THERMO | INCUBATOR | QR03INC08 | 597346 | P3-2037 | QRI-3F | STERIGO I250 | 42767637 | https://www.bing.com/images/search?q=THERMO+STERIGO+I250+incubator
466 | 465 | THERMO | INCUBATOR | QR03INC09 | 597347 | P3-2037 | QRI-3F | STERIGO I250 | 42767638 | https://www.bing.com/images/search?q=THERMO+STERIGO+I250+incubator
582 | 597 | SHELDON | INCUBATOR | A07UINC1048 | 542550 | A7-1048 | ACC-7F | SMI6-2 | 7005817 | https://www.bing.com/images/search?q=SHELDON+SMI6-2+incubator
902 | 911 | BINDER | INCUBATOR | NA | NA | ZONE 3 | 2nd Floor | CB56 | 20210000003775 | https://www.bing.com/images/search?q=BINDER+CB56+incubator
903 | 912 | BINDER | INCUBATOR | NA | NA | ZONE 4 | 2nd Floor | CB56 | 20210000003776 | https://www.bing.com/images/search?q=BINDER+CB56+incubator
904 | 913 | BINDER | INCUBATOR | NA | NA | ZONE 5 | 2nd Floor | CB56 | 20210000003777 | https://www.bing.com/images/search?q=BINDER+CB56+incubator
905 | 914 | BINDER | INCUBATOR | NA | NA | ZONE 6 | 2nd Floor | CB56 | 20210000003778 | https://www.bing.com/images/search?q=BINDER+CB56+incubator
906 | 915 | BINDER | INCUBATOR | NA | NA | ZONE 7 | 2nd Floor | CB56 | 20210000003774 | https://www.bing.com/images/search?q=BINDER+CB56+incubator
907 | 916 | BINDER | INCUBATOR | NA | NA | ZONE 8 | 2nd Floor | CB56 | 20210000003773 | https://www.bing.com/images/search?q=BINDER+CB56+incubator
|  | Manufacturer |  | Model |  | QTY |  |  |  | https://www.bing.com/images/search?q=Manufacturer++incubator
|  | Thermo Scientific |  | 321 |  | 11 |  |  |  | https://www.bing.com/images/search?q=Thermo+Scientific++incubator
|  |  |  | CYCLE-160 FORMA STRIAC |  | 1
|  |  |  | STERI CYCLE I250 LK |  | 2
|  |  |  | STERIGO I250 |  | 3
|  | PANASONIC |  | MCO-230A/CUV-PE |  | 2 |  |  |  | https://www.bing.com/images/search?q=PANASONIC++incubator
|  | PANASONIC |  | MIR-262-PU |  | 2 |  |  |  | https://www.bing.com/images/search?q=PANASONIC++incubator
|  | ESCO |  | CCI - 050B8 |  | 1 |  |  |  | https://www.bing.com/images/search?q=ESCO++incubator
|  | PHCBI |  | MCO-230AICUVL-PE |  | 5 |  |  |  | https://www.bing.com/images/search?q=PHCBI++incubator
|  | SANYO |  | MCO-19A10 |  | 1 |  |  |  | https://www.bing.com/images/search?q=SANYO++incubator
|  | NUAIRE |  | AUTO FLOW |  | 1 |  |  |  | https://www.bing.com/images/search?q=NUAIRE++incubator
|  | BINDER |  | CB-210 |  | 1 |  |  |  | https://www.bing.com/images/search?q=BINDER++incubator
|  |  |  | 9110-0323 |  | 1
|  |  |  | BD115 |  | 1
|  |  |  | CB56 |  | 6
|  | HELMER |  | PC100i |  | 1 |  |  |  | https://www.bing.com/images/search?q=HELMER++incubator
|  |  |  | PC2200i |  | 1
|  | EPPENDORF |  | 6731 |  | 2 |  |  |  | https://www.bing.com/images/search?q=EPPENDORF++incubator
|  | JSR |  | JSGI-150T |  | 1 |  |  |  | https://www.bing.com/images/search?q=JSR++incubator
|  | SHELDON |  | SMI6-2 |  | 1 |  |  |  | https://www.bing.com/images/search?q=SHELDON++incubator

## CENTRIFUGE
NO. | BOQ SR NO | Manufacturer | System | CMMS Asset Name | Asset Number | Location | Level | Model | Serial Number | Image | Remarks / Comments
1 | 1 | HETTICH | CENTRIFUGE | MCB320CFG7 | 286111 | BLD- 320 | ITRI-3-6-2 | Rotina 380 R | 0000 148 | https://www.bing.com/images/search?q=HETTICH+Rotina+380+R+centrifuge | Found at location. Working Good
2 | 2 | Thermo Scientific | CENTRIFUGE | MCB320CFG21 | 390782 | BLD- 320 | ITRI-1-2-2 | SORVALL ST16R | 4155448 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
3 | 3 | Thermo Scientific | CENTRIFUGE | MCB320CFG20 | 390783 | BLD- 320 | ITRI-2-3-4 | SORVALL ST16R | 41556333 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
4 | 4 | Thermo Scientific | CENTRIFUGE | MCB320CFG22 | 390784 | BLD- 320 | ITRI-1-1-3 | SORVALL ST16R | 41556330 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
5 | 5 | Thermo Scientific | CENTRIFUGE | MCB320CFG15 | 390785 | BLD- 320 | ITRI-3-5-4 | SORVALL ST16R | 41555447 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
6 | 6 | Thermo Scientific | CENTRIFUGE | MCB320CFG14 | 390786 | BLD- 320 | ITRI-3-5-3 | SORVALL ST16R | 41555446 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
7 | 7 | Thermo Scientific | CENTRIFUGE | MCB320CFG12 | 390787 | BLD- 320 | ITRI-3-5-2 | SORVALL ST16R | 41555437 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
8 | 8 | Thermo Scientific | CENTRIFUGE | MCB320CFG4 | 390788 | BLD- 320 | ITRI-4-7-4 | SORVALL ST16R | 41555441 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
9 | 9 | Thermo Scientific | CENTRIFUGE | MCB320CFG10 | 390789 | BLD- 320 | ITRI-3-6-4 | SORVALL ST16R | 41555445 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
10 | 10 | Thermo Scientific | CENTRIFUGE | MCB320CFG17 | 390790 | BLD- 320 | ITRI-2-4-2 | SORVALL ST16R | 41554639 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
11 | 11 | Thermo Scientific | CENTRIFUGE | MCB320CFG6 | 390791 | BLD- 320 | ITRI-1-2-3 | SORVALL ST16R | 41557304 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
12 | 12 | Thermo Scientific | CENTRIFUGE | MCB320CFG3 | 390792 | BLD- 320 | ITRI-4-7-3 | SORVALL ST16R | 41555436 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
13 | 13 | Thermo Scientific | CENTRIFUGE | MCB320CFG2 | 390793 | BLD- 320 | ITRI-4-7-2 | SORVALL ST16R | 41556331 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
14 | 14 | Thermo Scientific | CENTRIFUGE | MCB320CFG18 | 390797 | BLD- 320 | ITRI-2-4-4 | MICRO CL - 21R | 41552811 | https://www.bing.com/images/search?q=Thermo+Scientific+MICRO+CL+-+21R+centrifuge | Found at location. Working Good
15 | 15 | Thermo Scientific | CENTRIFUGE | MCB320CFG16 | 390798 | BLD- 320 | ITRI-2-4-2 | MICRO CL - 21R | 41552805 | https://www.bing.com/images/search?q=Thermo+Scientific+MICRO+CL+-+21R+centrifuge | Found at location. Working Good
16 | 16 | Thermo Scientific | CENTRIFUGE | MCB320CFG19 | 390799 | BLD- 320 | ITRI-2-3-3 | MICRO CL - 21R | 41552808 | https://www.bing.com/images/search?q=Thermo+Scientific+MICRO+CL+-+21R+centrifuge | Found at location. Working Good
17 | 17 | Thermo Scientific | CENTRIFUGE | MCB320CFG13 | 390800 | BLD- 320 | ITRI-3-5-2 | MICRO CL - 21R | 41552807 | https://www.bing.com/images/search?q=Thermo+Scientific+MICRO+CL+-+21R+centrifuge | Found at location. Working Good
18 | 18 | Thermo Scientific | CENTRIFUGE | MCB320CFG8 | 390801 | BLD- 320 | ITRI-3-6-2 | MICRO CL - 21R | 41552806 | https://www.bing.com/images/search?q=Thermo+Scientific+MICRO+CL+-+21R+centrifuge | Found at location. Working Good
19 | 19 | Thermo Scientific | CENTRIFUGE | MCB320CFG1 | 390802 | BLD- 320 | ITRI-4-7-2 | MICRO CL - 21R | 41552809 | https://www.bing.com/images/search?q=Thermo+Scientific+MICRO+CL+-+21R+centrifuge | Found at location. Working Good
20 | 20 | Thermo Scientific | CENTRIFUGE | MCB320CFG11 | 391398 | BLD- 320 | ITRI-3-5-1 | SORVELL LYNX 6000 | 41559452 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVELL+LYNX+6000+centrifuge | Found at location. Working Good
21 | 21 | EPPENDORF | CENTRIFUGE | MCB320CFG9 |  | BLD- 320 | ITRI-3-6-3 | 5810R(5811) | 5811CH069113 | https://www.bing.com/images/search?q=EPPENDORF+5810R%285811%29+centrifuge | Found at location. Working Good
22 | 22 | Thermo Scientific | CENTRIFUGE | MCB320CFG5 | 488980 | BLD- 320 | ITRI-3-5-4 | MEGA FUGE 8R | 42091297 | https://www.bing.com/images/search?q=Thermo+Scientific+MEGA+FUGE+8R+centrifuge | Found at location. Working Good
23 | 23 | HETTICH | CENTRIFUGE | MC20ITRICF23 | 562902 | BLD- 320 | ITRI-2-4-4 | MIKRO 200R | 0005695-13 | https://www.bing.com/images/search?q=HETTICH+MIKRO+200R+centrifuge | Found at location. Working Good
24 | 24 | Thermo Scientific | CENTRIFUGE | MC20ITRICF24 | 535527 | BLD- 320 | ITRI -2-4-4 | MICRO CL - 21R | 42591457 | https://www.bing.com/images/search?q=Thermo+Scientific+MICRO+CL+-+21R+centrifuge | Found at location. Working Good
25 | 25 | Thermo Scientific | CENTRIFUGE | MC20ITRICF25 | 559841 | BLD- 320 | ITRI-1-1-2 | SORVALLST8R | 75007204 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALLST8R+centrifuge | Found at location. Working Good
26 | 26 | Thermo Scientific | CENTRIFUGE | MC20ITRICF26 | 559842 | BLD- 320 | ITRI-2-3-3 | SORVALLST8R | 42427320 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALLST8R+centrifuge | Found at location. Working Good
27 | 27 | Thermo Scientific | CENTRIFUGE | MC20ITRICF27 | 556451 | BLD- 320 | ITRI-3-5-1 | SORVALLMTX1508R | 42371446 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALLMTX1508R+centrifuge | Found at location. Working Good
28 | 28 | Thermo Scientific | CENTRIFUGE | MC20ITRICF28 | 559843 | BLD- 320 | ITRI-1-2-2 | SORVALLST8R | 42427317 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALLST8R+centrifuge | Found at location. Working Good
29 | 29 | Thermo Scientific | CENTRIFUGE | MC20ITRICF29 | 599187 | BLD- 320 | ITRI - 1-1-2 | FRESCO 21 | 42941080 | https://www.bing.com/images/search?q=Thermo+Scientific+FRESCO+21+centrifuge | Found at location. Working Good
30 | 30 | Thermo Scientific | CENTRIFUGE | MC20ITRICF30 | 599188 | BLD- 320 | ITRI - 1-1-2 | FRESCO 21 | 42941082 | https://www.bing.com/images/search?q=Thermo+Scientific+FRESCO+21+centrifuge | Found at location. Working Good
31 | 31 | Thermo Scientific | CENTRIFUGE | MC11QMCCF2 | 567764 | BLD- 320 | ITRI- 3-5-3 | SORVALLST8FR | 42600624 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALLST8FR+centrifuge | Found at location. Working Good
32 | 32 | Thermo Scientific | CENTRIFUGE | MC20ITRICF21 | 556676 | BLD- 320 | ITRI- 4-7-4 | Sorvall ST 8R Small Benchtop | 42400372 | https://www.bing.com/images/search?q=Thermo+Scientific+Sorvall+ST+8R+Small+Benchtop+centrifuge | Found at location. Working Good
33 | 33 | Thermo Scientific | CENTRIFUGE | MC20ITRCF22 | 535525 | BLD- 320 | ITRI-1-2-2 | Sorvall Legend Micro 21R Microcentrifuge | 42591456 | https://www.bing.com/images/search?q=Thermo+Scientific+Sorvall+Legend+Micro+21R+Microcentrifuge+centrifuge | Found at location. Working Good
34 | 34 | Thermo Scientific | CENTRIFUGE | MC20ITRCF23 | 535526 | BLD- 320 | ITRI-1-2-2 | Sorvall Legend Micro 21R Microcentrifuge | 42591455 | https://www.bing.com/images/search?q=Thermo+Scientific+Sorvall+Legend+Micro+21R+Microcentrifuge+centrifuge | Found at location. Working Good
156 | 157 | EPPENDORF | CENTRIFUGE | MCMS321CEN03 | 287370 | BLD- 321 | Specimen Reception | 5810 [R] [5811] | 5811YH543140 | https://www.bing.com/images/search?q=EPPENDORF+5810+%5BR%5D+%5B5811%5D+centrifuge | Found at location. Working Good
157 | 158 | EPPENDORF | CENTRIFUGE | MCMS321CEN04 | 287371 | BLD- 321 | 1st Floor | 5810 [R] [5811] | 5811YH943141 | https://www.bing.com/images/search?q=EPPENDORF+5810+%5BR%5D+%5B5811%5D+centrifuge | Found at location. Working Good
158 | 159 | EPPENDORF | CENTRIFUGE | MCMS321CEN05 | 287372 | BLD- 321 | 1st Floor | 5810 [R] [5811] | 5811YG842950 | https://www.bing.com/images/search?q=EPPENDORF+5810+%5BR%5D+%5B5811%5D+centrifuge | Found at location. Working Good
159 | 160 | EPPENDORF | CENTRIFUGE | MCTMBVRC1 | 234078 | BLD- 321 | Virolagy Lab-1st floor | EPPENDORF AG | 32432 | https://www.bing.com/images/search?q=EPPENDORF+EPPENDORF+AG+centrifuge | Found at location. Working Good
160 | 161 | SIGMA | CENTRIFUGE | MCMS321CEN06 | 337104 | BLD- 321 | Virolagy lab | SIGMA 4-16 |  | https://www.bing.com/images/search?q=SIGMA+SIGMA+4-16+centrifuge | Found at location. Working Good
214 | 218 | Thermo Scientific | CENTRIFUGE | MC206HLACEN1 | 598610 | BLD - 326 | Flow Cytometry | Sorvall ST 8 | 720121061712 | https://www.bing.com/images/search?q=Thermo+Scientific+Sorvall+ST+8+centrifuge | Found at location. Working Good
215 | 219 | Thermo Scientific | CENTRIFUGE | MC206HLACEN2 | 598611 | BLD - 326 | Molecular lab | Sorvall ST 8 | 720121061715 | https://www.bing.com/images/search?q=Thermo+Scientific+Sorvall+ST+8+centrifuge | Found at location. Working Good
216 | 220 | Thermo Scientific | CENTRIFUGE | MCTH&ICE | 558448 | BLD - 326 | Molecular lab | SORVALL ST16R | 42408063 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
239 | 245 | SIGMA | CENTRIFUGE | MCSC206CEN01 | 173947 | BLD - 326 | 2nd FLOOR IMM & FLOW | 3K 16 | 93518 | https://www.bing.com/images/search?q=SIGMA+3K+16+centrifuge | Found at location. Working Good
240 | 246 | Thermo Scientific | CENTRIFUGE | MC206IMCEN1 | 603964 | BLD - 326 | 1st FLOOR IMMUNOLAGY | SORVEALL ST PLUS | 42971319 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVEALL+ST+PLUS+centrifuge | Found at location. Working Good
241 | 247 | Thermo Scientific | CENTRIFUGE | MCSC206CEN06 | 379191 | BLD - 326 | 1st FLOOR IMMUNOLAGY | MEGA FUGE 40 |  | https://www.bing.com/images/search?q=Thermo+Scientific+MEGA+FUGE+40+centrifuge | Found at location. Working Good
269 | 275 | HETTICH | CENTRIFUGE | MC21SPECF2 | 562809 | BLD - 326 | 3rd FLOOR LABORATORY-1 | UNIVERSAL 320 R | 0009594-10 | https://www.bing.com/images/search?q=HETTICH+UNIVERSAL+320+R+centrifuge | Found at location. Working Good
270 | 276 | Thermo Scientific | CENTRIFUGE | MC321SCCEN2 | 420993 | BLD - 326 | 3rd FLOOR LABORATORY-1 | SL 40R | 41621174 | https://www.bing.com/images/search?q=Thermo+Scientific+SL+40R+centrifuge | Found at location. Working Good
271 | 277 | Thermo Scientific | CENTRIFUGE | MC321SCCEN1 | 202055 | BLD - 326 | 3rd FLOOR LABORATORY-1 | Megafuge | 40317781 | https://www.bing.com/images/search?q=Thermo+Scientific+Megafuge+centrifuge | Found at location. Working Good
| 291 | SANYO | CENTRIFUGE | MCB28BBCEN1 | 177810 | BLD - 328 | 3rd FLOOR | SANYO | C100260 | https://www.bing.com/images/search?q=SANYO+SANYO+centrifuge | Unit Not Found at Specified Location. Got Transferred to unknown location.
284 | 292 | HETTICH | CENTRIFUGE | MCB28BBCEN2 | 431788 | BLD - 327 | 3rd FLOOR | Rotina 380 R | 0002333-04 | https://www.bing.com/images/search?q=HETTICH+Rotina+380+R+centrifuge | Found at location. Working Good
| 293 | SIGMA | CENTRIFUGE | MCB28BBCEN3 | 217573 | BLD - 328 | 3rd FLOOR | 3-16K | 111449 | https://www.bing.com/images/search?q=SIGMA+3-16K+centrifuge | Unit Not Found at Specified Location. Got Transferred to unknown location.
286 | 307 | Thermo Scientific | CENTRIFUGE | MCB327CO1 | 609863 | BLD - 327 | 3rd FLOOR | ST4RF PLUS-MD | 43110011 | https://www.bing.com/images/search?q=Thermo+Scientific+ST4RF+PLUS-MD+centrifuge | Found at location. Working Good
287 | 308 | Thermo Scientific | CENTRIFUGE | MCB327CO2 | 609864 | BLD - 327 | 3rd FLOOR | ST4RF PLUS-MD | 43110012 | https://www.bing.com/images/search?q=Thermo+Scientific+ST4RF+PLUS-MD+centrifuge | Found at location. Working Good
288 | 309 | HETTICH | CENTRIFUGE | MCB327CO3 | 594739 | BLD - 327 | Kept at 1st floor | ROTO SILENTA 630 RS | 0002200-29 | https://www.bing.com/images/search?q=HETTICH+ROTO+SILENTA+630+RS+centrifuge | Found at location. Working Good
380 | 403 | Thermo Scientific | CENTRIFUGE | MCQMICR01 | 533021 | BLD - 311 | SUPPORT ROOM-4th FLOOR | Sorvall ST 16R | 42147198 | https://www.bing.com/images/search?q=Thermo+Scientific+Sorvall+ST+16R+centrifuge | Found at location. Working Good
389 | 413 | Thermo Scientific | CENTRIFUGE | MCB206CEFG1 | 558449 | STAFF CLINIC - | LAB | SORVALL ST16R | 42408067 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
443 |  | Thermo Scientific | CENTRIFUGE | NHCBLD326 | 606114 | B-326 | 2nd FLOOR FLOW OYTOMETRY | SORVALL ST16R | 43073787 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | New added,not mension in Boq
446 |  | Thermo Scientific | CENTRIFUGE | MCB326CFG01 | 5584453 | B-326 | 3rd FLOOR | ST.16R | 42377966 | https://www.bing.com/images/search?q=Thermo+Scientific+ST.16R+centrifuge | New added,not mension in Boq
452 |  | HETTICH | CENTRIFUGE | NHCBLD327 | 602601 | B-327 | 1st FLOOR | ROTO SILENTA 630 RS | 602601 | https://www.bing.com/images/search?q=HETTICH+ROTO+SILENTA+630+RS+centrifuge | New added,not mension in Boq
467 | 466 | Thermo Scientific | CENTRIFUGE | P03CEN02 | 486689 | P3-2041 | QRI-3F | SORVALL ST16R | 41925073 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST16R+centrifuge | Found at location. Working Good
468 | 467 | HETTICH | CENTRIFUGE | P03CEN03 | 279114 | P3-2043 | QRI-3F | MIKRO 200 R | 000271-03-00 | https://www.bing.com/images/search?q=HETTICH+MIKRO+200+R+centrifuge | Found at location. Working Good
469 | 468 | Thermo Scientific | CENTRIFUGE | P03CEN08 | 348649 | P3-2043 | QRI-3F | DNA 120-230 | P18W-434310-PW | https://www.bing.com/images/search?q=Thermo+Scientific+DNA+120-230+centrifuge | Found at location. Working Good
470 | 469 | HETTICH | CENTRIFUGE | P03CEN10 | 354000 | P3-2003 | QRI-3F | ROTANTA 460 | 10425 | https://www.bing.com/images/search?q=HETTICH+ROTANTA+460+centrifuge | Found at location. Working Good
471 | 470 | HETTICH | CENTRIFUGE | P03CEN12 | 369991 | P3-2010 | QRI-3F | Rotina 380R | 0001492-01-00 | https://www.bing.com/images/search?q=HETTICH+Rotina+380R+centrifuge | Found at location. Working Good
472 | 471 | Thermo Scientific | CENTRIFUGE | QR03CEN14 | 563587 | P3-2045 | QRI-3F | Heraeus Megafuge 16R | 42496686 | https://www.bing.com/images/search?q=Thermo+Scientific+Heraeus+Megafuge+16R+centrifuge | Found at location. Working Good
473 | 472 | Thermo Scientific | CENTRIFUGE | P03CEN05 | 542615 | P3-2060 | QRI-3F | MEGAFUGE X 1R | 42153968 | https://www.bing.com/images/search?q=Thermo+Scientific+MEGAFUGE+X+1R+centrifuge | Found at location. Working Good
474 | 473 | HETTICH | CENTRIFUGE | P03CEN06 | 542549 | P3-2063 | QRI-3F | Rotina 380 R | 0003815-05 | https://www.bing.com/images/search?q=HETTICH+Rotina+380+R+centrifuge | Found at location. Working Good
475 | 474 | HETTICH | CENTRIFUGE | QR03CEN13 | 428196 | P3-2003 | QRI-3F | Rotina 380 R | 0010961-10 | https://www.bing.com/images/search?q=HETTICH+Rotina+380+R+centrifuge | Found at location. Working Good
476 | 475 | HETTICH | CENTRIFUGE | QR03CEN15 | No Sticker | P3-2003 | QRI-3F | ROTIXA 500RS | 0000626-03 | https://www.bing.com/images/search?q=HETTICH+ROTIXA+500RS+centrifuge | Found at location. Working Good
477 | 476 | Thermo Scientific | CENTRIFUGE | QR03CEN16 | 558451 | P3-2010 | QRI-3F | SORVALL ST-16R | 42408069 | https://www.bing.com/images/search?q=Thermo+Scientific+SORVALL+ST-16R+centrifuge | Found at location. Working Good
478 | 477 | Thermo Scientific | CENTRIFUGE | QR03CEN17 | 535653 | P3-2045 | QRI-3F | Heraeus Megafuge 16R | 42600648 | https://www.bing.com/images/search?q=Thermo+Scientific+Heraeus+Megafuge+16R+centrifuge | Found at location. Working Good
479 | 478 | Thermo Scientific | CENTRIFUGE | QR03CEN18 | 594090 | P3 -2039 | QRI-3F | Sorvall Legend X1R | 42733197 | https://www.bing.com/images/search?q=Thermo+Scientific+Sorvall+Legend+X1R+centrifuge | Found at location. Working Good
480 | 479 | EPPENDORF | CENTRIFUGE | P03CEN07 |  | P03-2064 | QRI-3F | 5811 | 36856 | https://www.bing.com/images/search?q=EPPENDORF+5811+centrifuge | Found at location. Working Good
|  | Manufacturer | Model |  | Qty |  |  |  |  | https://www.bing.com/images/search?q=Manufacturer++centrifuge
|  | Thermo Scientific | SORVALL ST-16R |  | 19 |  |  |  |  | https://www.bing.com/images/search?q=Thermo+Scientific++centrifuge
|  |  | MICRO CL - 21R |  | 8
|  |  | Sorvall ST 8 R |  | 6
|  |  | Sorvall Legend X1R |  | 1
|  |  | Heraeus Megafuge 16R |  | 2
|  |  | SL 40R |  | 1
|  |  | FRESCO 21 |  | 2
|  |  | MEGA FUGE 40 |  | 1
|  |  | MEGA FUGE 8R |  | 2
|  |  | MEGAFUGE X 1R |  | 1
|  |  | Sorvall Legend X1R |  | 1
|  |  | SORVALLMTX1508R |  | 1
|  |  | SORVEALL ST PLUS |  | 1
|  |  | SORVELL LYNX 6000 |  | 1
|  |  | ST4RF PLUS-MD |  | 2
|  |  | DNA 120-230 |  | 1
|  | EPPENDORF | 5811 |  | 6 |  |  |  |  | https://www.bing.com/images/search?q=EPPENDORF++centrifuge
|  | HETTICH | MIKRO 200 R |  | 2 |  |  |  |  | https://www.bing.com/images/search?q=HETTICH++centrifuge
|  |  | ROTANTA 460 |  | 1
|  |  | Rotina 380 R |  | 5
|  |  | ROTIXA 500RS |  | 1
|  |  | ROTO SILENTA 630 RS |  | 2
|  |  | UNIVERSAL 320 R |  | 1
|  | SIGMA | SIGMA 4-16 |  | 1 |  |  |  |  | https://www.bing.com/images/search?q=SIGMA++centrifuge
|  |  | 3K 16 |  | 1